## Information
Stack Emission Proficiency Test Dust and Gas (Pandemic Version): Submission of measurement results to HLNUG |  |  | 1
Results submission for HLNUG-PT No.: |  | 21P
Language / Sprache: | English |  | <– Klicken Sie hier, um zur deutschen Version zu wechseln | Deutsch | 0
|  |  |  | English | 1
Measuring institute:
Sampling was carried out by the following branch:
street, number:
postal code:
city, country:
Telefonnummer:
Telefax-Nummer:
e-mail:
ID-code (identification code):
date of clearance of results (optional):
name of editor (optional):
position/function of editor (optional):
Please fill in all green fields!
For submission of your results to HLNUG, please send the completed results file via e-mail, using the following reference:
Results PT 21P/ - ID-Code: ()
e-mail: | pt@hlnug.hessen.de
Version 3: 14.12.2021, I3-Co

## Flow_conditions
Measurement results for gas flow conditions | [7 empty] | 21P | 1
participant: | 0
measurement number | date | start of measurements | end of measurements | volume flow | mean flow velocity | flue gas temperature | water concentration | static pressure |  | volume flow | mean flow velocity | flue gas temperature | water concentration | static pressure
|  |  |  | m³/h (standard conditions, dry) | m/s (operating conditions, wet) | °C | g/m³ (standard conditions, dry) | hPa
1 | [9 empty] | 0 | 0 | 0 | 0 | 0
2 (Reserve) | [9 empty] | 0 | 0 | 0 | 0 | 0
remarks
0
Red coloured fields indicate entry errors!

## Dust
Measurement results for the dust proficiency test | [7 empty] | 21P |  |  |  |  | 1
participant: | 0
measurement number | date | start of sampling | end of sampling | dust | Cadmium Cd | Cobalt Co | Chromium Cr | Copper Cu | Manganese Mn | Nickel Ni | Lead Pb | Vanadium V |  | dust | Cadmium Cd | Cobalt Co | Chromium Cr | Copper Cu | Manganese Mn | Nickel Ni | Lead Pb | Vanadium V
|  |  |  | mg/m³ | µg/m³ | µg/m³ | µg/m³ | µg/m³ | µg/m³ | µg/m³ | µg/m³ | µg/m³
1 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 (Reserve) | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 (Reserve) | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 (Reserve) | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 (Reserve) | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 (Reserve) | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Please enter all results referring to standard conditions, dry and with two decimal places. |  |  |  |  | remarks
Red coloured fields indicate entry errors!

## Gas
Measurement results for the gas proficiency test | [21 empty] | 1
participant: | 0
measurement number | date | start of sampling | end of sampling | NOₓ as NO₂ | CO | TOC | SO₂ | ethyl benzene | toluene | xylene |  |  | NOₓ as NO₂ | CO | TOC | SO₂ | ethyl benzene | toluene | xylene | 0 | 0
|  |  |  | mg/m³ | mg/m³ | mg/m³ | mg/m³ | mg/m³ | mg/m³ | mg/m³ | mg/m³ | mg/m³
1 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 (Reserve) | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 (Reserve) | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 (Reserve) | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 (Reserve) | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 (Reserve) | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Please enter all results referring to standard conditions, dry and with two decimal places. |  |  |  |  | remarks
Red coloured fields indicate entry errors!

## Analysis
Details of the analysis (dust) | [5 empty] | 21P | 1
participant: | 0 | [10 empty] | system | Code | probe material | Code | Spülen | Code | Spülrückstände | Code | digestion conforming to | Code | analysis device | Code | filter material | Code
expanded (95%) measurement uncertainty |  |  | used probe system | [8 empty] | please select | Sys0 | please select | Mts0 | please select | Spu0 | please select | Sra0 | please select | Nrm0 | please select | Ang0 | please select | Mtf0
dust |  | mg/m³ | information on the probe system used |  |  | remarks |  | 0 |  |  |  | in-stack, without bend | Sys4 | stainless steel | Mts1 | never | Spu3 | yes | Sra1 | EN 14385 | Nrm1 | flame-AAS | Ang1 | glass fiber | Mtf1
Cadmium Cd |  | µg/m³ | system | please select |  |  |  | 0 | please select | Sys0 | 0 | in-stack, with goose-neck | Sys5 | titanium | Mts2 | once at the end of the PT | Spu4 | no | Sra2 | VDI 2268-1 | Nrm2 | graphite furnace AAS | Ang2 | quartz fiber | Mtf2
Cobalt Co |  | µg/m³ | probe material | please select |  |  |  | 0 | please select | Mts0 | 0 | out-stack (heated) | Sys2 | other: | Mts9 | once per day | Spu5 |  |  | other standard: | Nrm9 | ICP-MS | Ang3 | PTFE | Mtf3
Chromium Cr |  | µg/m³ | diameter probe inlet |  | mm |  |  | 0 | 0 | 0 | 0 | out-stack (not heated) | Sys3 |  |  | after each measurement | Spu6 |  |  | in-house method: | Nrm9 | ICP-OES | Ang4 | other: | Mtf9
Copper Cu |  | µg/m³ | information on the filter used |  |  | remarks |  | 0 |  |  |  | other: | Sys9 |  |  | other: | Spu9 |  |  |  |  | other: | Ang9
Manganese Mn |  | µg/m³ | filter material | please select |  |  |  | 0 | please select | Mtf0 | 0
Nickel Ni |  | µg/m³ | diameter filter |  | mm |  |  | 0 | 0 | 0 | 0
Lead Pb |  | µg/m³ | [5 empty] | 0
Vanadium V |  | µg/m³ | [5 empty] | 0
Volumenstrom |  | m³/h | [5 empty] | 0
rinsing procedure |  |  |  |  | remarks | [10 empty] | Nicht mehr verwendet:
the probe head was rinsed during the proficiency test: |  |  | please select | [5 empty] | please select | Spu0 | 0 |  |  |  |  | ja / yes | Spu1
rinsing residues were taken into account in the measurement result: |  |  | please select | [5 empty] | please select | Sra0 | 0 |  |  |  |  | nein / no | Spu2
heavy metal analysis |  |  | remarks
digestion conforming to | please select | [7 empty] | please select | Nrm0 | 0
analysis device | please select | [7 empty] | please select | Ang0 | 0
Details of the analysis (gas)
[12 empty] | Analyse HCHO | Code | Analyse SO2 | Code | Analyse ETX | Code | Desorption ETX | Code | Analysegerät ETX | Code
expanded (95%) measurement uncertainty |  |  | used analysis methods | [8 empty] | please select | AnF0 | please select | AnS0 | please select | AnO0 | please select | DeO0 | please select | AgO0
NOₓ (indicated as NO₂) |  | mg/m³ | component | method |  | remarks |  | 0 |  |  |  | VDI 3862-2 | AnF1 | EN 14791 - IC | AnS1 | CEN/TS 13649 | AnO1 | CS₂ | DeO1 | GC-FID | AgO1
Formaldehyd formaldehyde |  | mg/m³ | Formaldehyd formaldehyde | please select |  |  |  | 0 | please select | AnF0 | 0 | VDI 3862-3 | AnF2 | EN 14791 - Thorin | AnS2 | other standard: | AnO8 | CS₂/i-PrOH | DeO2 | GC-MS | AgO2
CO |  | mg/m³ | SO2 | please select |  |  |  | 0 | please select | AnS0 | 0 | VDI 3862-4 | AnF3 | other standard: | AnS8 | in-house method: | AnO9 | Et₂O | DeO3 | other: | AgO9
TOC |  | mg/m³ | ETX (ethyl benzene, toluene & Xylol) | please select |  |  |  | 0 | please select | AnO0 | 0 | other standard: | AnF8 | in-house method: | AnS9 |  |  | CH₂Cl₂/MeOH | DeO4
SO2 |  | mg/m³ | [5 empty] | 0 |  |  |  | in-house method: | AnF9 |  |  |  |  | other solvent(s): | DeO9
ethyl benzene |  | mg/m³ | further information on ETX-analysis |  |  | remarks |  | 0 | [9 empty] | none (thermodesorption) | DeO8
toluene |  | mg/m³ | desorption solvent | please select |  |  |  | 0 | please select | DeO0 | 0
Xylol |  | mg/m³ | analysis device | please select |  |  |  | 0 | please select | AgO0 | 0

## DE-EN (hidden)
Emissionsringversuch Staub und Gas (Pandemieversion): Übermittlung von Messergebnissen an das HLNUG | Stack Emission Proficiency Test Dust and Gas (Pandemic Version): Submission of measurement results to HLNUG
und | and
Ergebnismitteilung für HLNUG-Ringversuch Nr.: | Results submission for HLNUG-PT No.:
Name der Messstelle: | Measuring institute:
Die Probenahme wurde durchgeführt von Standort: | Sampling was carried out by the following branch:
Straße, Hausnummer: | street, number:
Postleitzahl: | postal code:
Ort: | city, country:
Telefonnummer (optional): | phone number:
Telefax-Nummer (optional): | telefax number:
E-Mail: | e-mail:
ID-code: | ID-code (identification code):
Datum der Freigabe der Ergebnisse (optional): | date of clearance of results (optional):
Name des Bearbeiters (optional): | name of editor (optional):
Position/Funktion des Bearbeiters (optional): | position/function of editor (optional):
Bitte füllen Sie alle grün hinterlegten Felder aus! | Please fill in all green fields!
Zur Übermittlung Ihrer Ergebnisse an das HLNUG schicken Sie bitte die vollständig ausgefüllte Datei per E-Mail mit folgendem Betreff: | For submission of your results to HLNUG, please send the completed results file via e-mail, using the following reference:
<– Click here to change the language to English | <– Klicken Sie hier, um zur deutschen Version zu wechseln
Sofern alle Ergebnisse korrekt eingetragen wurden, endet die Frist für Ihre Ergebnisabgabe am: | Provided all your results were entered correctly, the deadline for submission of results is:
Messergebnisse für Abgasrandbedingungen | Measurement results for gas flow conditions
Messung Nummer | measurement number
Datum | date
Beginn der Messungen | start of measurements
Ende der Messungen | end of measurements
Volumenstrom | volume flow
Mittlere Strömungsgeschwindigkeit | mean flow velocity
Abgastemperatur | flue gas temperature
Wassergehalt | water concentration
Statischer Druck | static pressure
m³/h (Nz, tr) | m³/h (standard conditions, dry)
m/s (Bz, f) | m/s (operating conditions, wet)
g/m³ (Nz, tr) | g/m³ (standard conditions, dry)
Kommentare | remarks
Rot hinterlegte Felder weisen auf Eingabefehler hin! | Red coloured fields indicate entry errors!
Teilnehmer: | participant:
Messergebnisse für den Staubringversuch | Measurement results for the dust proficiency test
Bitte alle Ergebnisse bezogen auf Normzustand, trocken und mit zwei Nachkommastellen angeben. | Please enter all results referring to standard conditions, dry and with two decimal places.
Staub | dust
Chrom Cr | Chromium Cr
Kupfer Cu | Copper Cu
Mangan Mn | Manganese Mn
Blei Pb | Lead Pb
Beginn der Probenahme | start of sampling
Ende der Probenahme | end of sampling
Messergebnisse für den Gasringversuch | Measurement results for the gas proficiency test
NOₓ als NO₂ | NOₓ as NO₂
Gesamt-C | TOC
Ethylbenzol | ethyl benzene
Toluol | toluene
Xylol | xylene
Angaben zur Analyse (Staub) | Details of the analysis (dust)
Erweiterte (95%) absolute Messunsicherheit | expanded (95%) measurement uncertainty
Verwendete Probenahmeapparatur | used probe system
Durchmesser Sondenöffnung | diameter probe inlet
Informationen zum verwendeten Filter | information on the filter used
Durchmesser Filter | diameter filter
Vergehensweise bezüglich Spülen | rinsing procedure
Der Sondenkopf wurde im Ringversuch gespült: | the probe head was rinsed during the proficiency test:
Spülrückstände wurden im Messergebnis berücksichtigt: | rinsing residues were taken into account in the measurement result:
Schwermetallanalytik | heavy metal analysis
Aufschluss gemäß | digestion conforming to
Analysegerät | analysis device
System | system
Bitte wählen | please select
in-stack, ohne Krümmer | in-stack, without bend
in-stack, mit Schwanenhals-Krümmer | in-stack, with goose-neck
out-stack (beheizt) | out-stack (heated)
out-stack (unbeheizt) | out-stack (not heated)
anderes: | other:
Material Sonde | probe material
Edelstahl | stainless steel
Titan | titanium
nie | never
einmal am Ende des RV | once at the end of the PT
arbeitstäglich | once per day
nach jeder Messung | after each measurement
Material Filter | filter material
Glasfaser | glass fiber
Quarzfaser | quartz fiber
ja | yes
nein | no
DIN EN 14385 | EN 14385
andere Norm: | other standard:
eigenes Verfahren: | in-house method:
Flammen-AAS | flame-AAS
Graphitrohr-AAS | graphite furnace AAS
Informationen zur verwendeten Sonde | information on the probe system used
Angaben zur Analyse (Gas) | Details of the analysis (gas)
NOₓ (angegeben als NO₂) | NOₓ (indicated as NO₂)
Xylol (Summe Isomere) | xylene (sum of isomers)
Verwendete Analyseverfahren | used analysis methods
Komponente | component
Verfahren | method
Nähere Angaben zur ETX-Analytik | further information on ETX-analysis
Desorptionsmittel | desorption solvent
DIN EN 14791 - IC | EN 14791 - IC
DIN EN 14791 - Thorin | EN 14791 - Thorin
DIN CEN/TS 13649 | CEN/TS 13649
andere(s) Lösungsmittel: | other solvent(s):
keines (Thermodesorption) | none (thermodesorption)

## ges (hidden)
Kombiname | RV | IDCode | MessungNr | Komponente | Datum | MessungVon | MessungBis | Konzentration | MessungNr2 | Kontrolle Spaltenname | Konzentration | Blatt | Spalte | Zeile
21P-St-1-0 | 21P | 0 | 1 | St |  | 0:00 | 0:00 | -999 | 1 | dust | -999 | Dust | E | 6
21P-St-2-0 | 21P | 0 | 2 | St |  | 0:00 | 0:00 | -999 | 2 | dust | -999 | Dust | E | 7
21P-St-3-0 | 21P | 0 | 3 | St |  | 0:00 | 0:00 | -999 | 3 | dust | -999 | Dust | E | 8
21P-St-4-0 | 21P | 0 | 4 | St |  | 0:00 | 0:00 | -999 | 4 (Reserve) | dust | -999 | Dust | E | 9
21P-St-5-0 | 21P | 0 | 5 | St |  | 0:00 | 0:00 | -999 | 5 (Reserve) | dust | -999 | Dust | E | 10
21P-St-6-0 | 21P | 0 | 6 | St | 0 | 0:00 | 0:00 | -999 | 6 | dust | -999 | Dust | E | 11
21P-St-7-0 | 21P | 0 | 7 | St | 0 | 0:00 | 0:00 | -999 | 7 | dust | -999 | Dust | E | 12
21P-St-8-0 | 21P | 0 | 8 | St | 0 | 0:00 | 0:00 | -999 | 8 | dust | -999 | Dust | E | 13
21P-St-9-0 | 21P | 0 | 9 | St | 0 | 0:00 | 0:00 | -999 | 9 | dust | -999 | Dust | E | 14
21P-St-10-0 | 21P | 0 | 10 | St | 0 | 0:00 | 0:00 | -999 | 10 | dust | -999 | Dust | E | 15
21P-St-11-0 | 21P | 0 | 11 | St | 0 | 0:00 | 0:00 | -999 | 11 (Reserve) | dust | -999 | Dust | E | 16
21P-St-12-0 | 21P | 0 | 12 | St | 0 | 0:00 | 0:00 | -999 | 12 (Reserve) | dust | -999 | Dust | E | 17
21P-St-13-0 | 21P | 0 | 13 | St | 0 | 0:00 | 0:00 | -999 | 13 (Reserve) | dust | -999 | Dust | E | 18
21P-Cd-1-0 | 21P | 0 | 1 | Cd |  | 0:00 | 0:00 | -999 | 1 | Cadmium Cd | -999 | Dust | F | 6
21P-Cd-2-0 | 21P | 0 | 2 | Cd |  | 0:00 | 0:00 | -999 | 2 | Cadmium Cd | -999 | Dust | F | 7
21P-Cd-3-0 | 21P | 0 | 3 | Cd |  | 0:00 | 0:00 | -999 | 3 | Cadmium Cd | -999 | Dust | F | 8
21P-Cd-4-0 | 21P | 0 | 4 | Cd |  | 0:00 | 0:00 | -999 | 4 (Reserve) | Cadmium Cd | -999 | Dust | F | 9
21P-Cd-5-0 | 21P | 0 | 5 | Cd |  | 0:00 | 0:00 | -999 | 5 (Reserve) | Cadmium Cd | -999 | Dust | F | 10
21P-Cd-6-0 | 21P | 0 | 6 | Cd | 0 | 0:00 | 0:00 | -999 | 6 | Cadmium Cd | -999 | Dust | F | 11
21P-Cd-7-0 | 21P | 0 | 7 | Cd | 0 | 0:00 | 0:00 | -999 | 7 | Cadmium Cd | -999 | Dust | F | 12
21P-Cd-8-0 | 21P | 0 | 8 | Cd | 0 | 0:00 | 0:00 | -999 | 8 | Cadmium Cd | -999 | Dust | F | 13
21P-Cd-9-0 | 21P | 0 | 9 | Cd | 0 | 0:00 | 0:00 | -999 | 9 | Cadmium Cd | -999 | Dust | F | 14
21P-Cd-10-0 | 21P | 0 | 10 | Cd | 0 | 0:00 | 0:00 | -999 | 10 | Cadmium Cd | -999 | Dust | F | 15
21P-Cd-11-0 | 21P | 0 | 11 | Cd | 0 | 0:00 | 0:00 | -999 | 11 (Reserve) | Cadmium Cd | -999 | Dust | F | 16
21P-Cd-12-0 | 21P | 0 | 12 | Cd | 0 | 0:00 | 0:00 | -999 | 12 (Reserve) | Cadmium Cd | -999 | Dust | F | 17
21P-Cd-13-0 | 21P | 0 | 13 | Cd | 0 | 0:00 | 0:00 | -999 | 13 (Reserve) | Cadmium Cd | -999 | Dust | F | 18
21P-Co-1-0 | 21P | 0 | 1 | Co |  | 0:00 | 0:00 | -999 | 1 | Cobalt Co | -999 | Dust | G | 6
21P-Co-2-0 | 21P | 0 | 2 | Co |  | 0:00 | 0:00 | -999 | 2 | Cobalt Co | -999 | Dust | G | 7
21P-Co-3-0 | 21P | 0 | 3 | Co |  | 0:00 | 0:00 | -999 | 3 | Cobalt Co | -999 | Dust | G | 8
21P-Co-4-0 | 21P | 0 | 4 | Co |  | 0:00 | 0:00 | -999 | 4 (Reserve) | Cobalt Co | -999 | Dust | G | 9
21P-Co-5-0 | 21P | 0 | 5 | Co |  | 0:00 | 0:00 | -999 | 5 (Reserve) | Cobalt Co | -999 | Dust | G | 10
21P-Co-6-0 | 21P | 0 | 6 | Co | 0 | 0:00 | 0:00 | -999 | 6 | Cobalt Co | -999 | Dust | G | 11
21P-Co-7-0 | 21P | 0 | 7 | Co | 0 | 0:00 | 0:00 | -999 | 7 | Cobalt Co | -999 | Dust | G | 12
21P-Co-8-0 | 21P | 0 | 8 | Co | 0 | 0:00 | 0:00 | -999 | 8 | Cobalt Co | -999 | Dust | G | 13
21P-Co-9-0 | 21P | 0 | 9 | Co | 0 | 0:00 | 0:00 | -999 | 9 | Cobalt Co | -999 | Dust | G | 14
21P-Co-10-0 | 21P | 0 | 10 | Co | 0 | 0:00 | 0:00 | -999 | 10 | Cobalt Co | -999 | Dust | G | 15
21P-Co-11-0 | 21P | 0 | 11 | Co | 0 | 0:00 | 0:00 | -999 | 11 (Reserve) | Cobalt Co | -999 | Dust | G | 16
21P-Co-12-0 | 21P | 0 | 12 | Co | 0 | 0:00 | 0:00 | -999 | 12 (Reserve) | Cobalt Co | -999 | Dust | G | 17
21P-Co-13-0 | 21P | 0 | 13 | Co | 0 | 0:00 | 0:00 | -999 | 13 (Reserve) | Cobalt Co | -999 | Dust | G | 18
21P-Cr-1-0 | 21P | 0 | 1 | Cr |  | 0:00 | 0:00 | -999 | 1 | Chromium Cr | -999 | Dust | H | 6
21P-Cr-2-0 | 21P | 0 | 2 | Cr |  | 0:00 | 0:00 | -999 | 2 | Chromium Cr | -999 | Dust | H | 7
21P-Cr-3-0 | 21P | 0 | 3 | Cr |  | 0:00 | 0:00 | -999 | 3 | Chromium Cr | -999 | Dust | H | 8
21P-Cr-4-0 | 21P | 0 | 4 | Cr |  | 0:00 | 0:00 | -999 | 4 (Reserve) | Chromium Cr | -999 | Dust | H | 9
21P-Cr-5-0 | 21P | 0 | 5 | Cr |  | 0:00 | 0:00 | -999 | 5 (Reserve) | Chromium Cr | -999 | Dust | H | 10
21P-Cr-6-0 | 21P | 0 | 6 | Cr | 0 | 0:00 | 0:00 | -999 | 6 | Chromium Cr | -999 | Dust | H | 11
21P-Cr-7-0 | 21P | 0 | 7 | Cr | 0 | 0:00 | 0:00 | -999 | 7 | Chromium Cr | -999 | Dust | H | 12
21P-Cr-8-0 | 21P | 0 | 8 | Cr | 0 | 0:00 | 0:00 | -999 | 8 | Chromium Cr | -999 | Dust | H | 13
21P-Cr-9-0 | 21P | 0 | 9 | Cr | 0 | 0:00 | 0:00 | -999 | 9 | Chromium Cr | -999 | Dust | H | 14
21P-Cr-10-0 | 21P | 0 | 10 | Cr | 0 | 0:00 | 0:00 | -999 | 10 | Chromium Cr | -999 | Dust | H | 15
21P-Cr-11-0 | 21P | 0 | 11 | Cr | 0 | 0:00 | 0:00 | -999 | 11 (Reserve) | Chromium Cr | -999 | Dust | H | 16
21P-Cr-12-0 | 21P | 0 | 12 | Cr | 0 | 0:00 | 0:00 | -999 | 12 (Reserve) | Chromium Cr | -999 | Dust | H | 17
21P-Cr-13-0 | 21P | 0 | 13 | Cr | 0 | 0:00 | 0:00 | -999 | 13 (Reserve) | Chromium Cr | -999 | Dust | H | 18
21P-Cu-1-0 | 21P | 0 | 1 | Cu |  | 0:00 | 0:00 | -999 | 1 | Copper Cu | -999 | Dust | I | 6
21P-Cu-2-0 | 21P | 0 | 2 | Cu |  | 0:00 | 0:00 | -999 | 2 | Copper Cu | -999 | Dust | I | 7
21P-Cu-3-0 | 21P | 0 | 3 | Cu |  | 0:00 | 0:00 | -999 | 3 | Copper Cu | -999 | Dust | I | 8
21P-Cu-4-0 | 21P | 0 | 4 | Cu |  | 0:00 | 0:00 | -999 | 4 (Reserve) | Copper Cu | -999 | Dust | I | 9
21P-Cu-5-0 | 21P | 0 | 5 | Cu |  | 0:00 | 0:00 | -999 | 5 (Reserve) | Copper Cu | -999 | Dust | I | 10
21P-Cu-6-0 | 21P | 0 | 6 | Cu | 0 | 0:00 | 0:00 | -999 | 6 | Copper Cu | -999 | Dust | I | 11
21P-Cu-7-0 | 21P | 0 | 7 | Cu | 0 | 0:00 | 0:00 | -999 | 7 | Copper Cu | -999 | Dust | I | 12
21P-Cu-8-0 | 21P | 0 | 8 | Cu | 0 | 0:00 | 0:00 | -999 | 8 | Copper Cu | -999 | Dust | I | 13
21P-Cu-9-0 | 21P | 0 | 9 | Cu | 0 | 0:00 | 0:00 | -999 | 9 | Copper Cu | -999 | Dust | I | 14
21P-Cu-10-0 | 21P | 0 | 10 | Cu | 0 | 0:00 | 0:00 | -999 | 10 | Copper Cu | -999 | Dust | I | 15
21P-Cu-11-0 | 21P | 0 | 11 | Cu | 0 | 0:00 | 0:00 | -999 | 11 (Reserve) | Copper Cu | -999 | Dust | I | 16
21P-Cu-12-0 | 21P | 0 | 12 | Cu | 0 | 0:00 | 0:00 | -999 | 12 (Reserve) | Copper Cu | -999 | Dust | I | 17
21P-Cu-13-0 | 21P | 0 | 13 | Cu | 0 | 0:00 | 0:00 | -999 | 13 (Reserve) | Copper Cu | -999 | Dust | I | 18
21P-Mn-1-0 | 21P | 0 | 1 | Mn |  | 0:00 | 0:00 | -999 | 1 | Manganese Mn | -999 | Dust | J | 6
21P-Mn-2-0 | 21P | 0 | 2 | Mn |  | 0:00 | 0:00 | -999 | 2 | Manganese Mn | -999 | Dust | J | 7
21P-Mn-3-0 | 21P | 0 | 3 | Mn |  | 0:00 | 0:00 | -999 | 3 | Manganese Mn | -999 | Dust | J | 8
21P-Mn-4-0 | 21P | 0 | 4 | Mn |  | 0:00 | 0:00 | -999 | 4 (Reserve) | Manganese Mn | -999 | Dust | J | 9
21P-Mn-5-0 | 21P | 0 | 5 | Mn |  | 0:00 | 0:00 | -999 | 5 (Reserve) | Manganese Mn | -999 | Dust | J | 10
21P-Mn-6-0 | 21P | 0 | 6 | Mn | 0 | 0:00 | 0:00 | -999 | 6 | Manganese Mn | -999 | Dust | J | 11
21P-Mn-7-0 | 21P | 0 | 7 | Mn | 0 | 0:00 | 0:00 | -999 | 7 | Manganese Mn | -999 | Dust | J | 12
21P-Mn-8-0 | 21P | 0 | 8 | Mn | 0 | 0:00 | 0:00 | -999 | 8 | Manganese Mn | -999 | Dust | J | 13
21P-Mn-9-0 | 21P | 0 | 9 | Mn | 0 | 0:00 | 0:00 | -999 | 9 | Manganese Mn | -999 | Dust | J | 14
21P-Mn-10-0 | 21P | 0 | 10 | Mn | 0 | 0:00 | 0:00 | -999 | 10 | Manganese Mn | -999 | Dust | J | 15
21P-Mn-11-0 | 21P | 0 | 11 | Mn | 0 | 0:00 | 0:00 | -999 | 11 (Reserve) | Manganese Mn | -999 | Dust | J | 16
21P-Mn-12-0 | 21P | 0 | 12 | Mn | 0 | 0:00 | 0:00 | -999 | 12 (Reserve) | Manganese Mn | -999 | Dust | J | 17
21P-Mn-13-0 | 21P | 0 | 13 | Mn | 0 | 0:00 | 0:00 | -999 | 13 (Reserve) | Manganese Mn | -999 | Dust | J | 18
21P-Ni-1-0 | 21P | 0 | 1 | Ni |  | 0:00 | 0:00 | -999 | 1 | Nickel Ni | -999 | Dust | K | 6
21P-Ni-2-0 | 21P | 0 | 2 | Ni |  | 0:00 | 0:00 | -999 | 2 | Nickel Ni | -999 | Dust | K | 7
21P-Ni-3-0 | 21P | 0 | 3 | Ni |  | 0:00 | 0:00 | -999 | 3 | Nickel Ni | -999 | Dust | K | 8
21P-Ni-4-0 | 21P | 0 | 4 | Ni |  | 0:00 | 0:00 | -999 | 4 (Reserve) | Nickel Ni | -999 | Dust | K | 9
21P-Ni-5-0 | 21P | 0 | 5 | Ni |  | 0:00 | 0:00 | -999 | 5 (Reserve) | Nickel Ni | -999 | Dust | K | 10
21P-Ni-6-0 | 21P | 0 | 6 | Ni | 0 | 0:00 | 0:00 | -999 | 6 | Nickel Ni | -999 | Dust | K | 11
21P-Ni-7-0 | 21P | 0 | 7 | Ni | 0 | 0:00 | 0:00 | -999 | 7 | Nickel Ni | -999 | Dust | K | 12
21P-Ni-8-0 | 21P | 0 | 8 | Ni | 0 | 0:00 | 0:00 | -999 | 8 | Nickel Ni | -999 | Dust | K | 13
21P-Ni-9-0 | 21P | 0 | 9 | Ni | 0 | 0:00 | 0:00 | -999 | 9 | Nickel Ni | -999 | Dust | K | 14
21P-Ni-10-0 | 21P | 0 | 10 | Ni | 0 | 0:00 | 0:00 | -999 | 10 | Nickel Ni | -999 | Dust | K | 15
21P-Ni-11-0 | 21P | 0 | 11 | Ni | 0 | 0:00 | 0:00 | -999 | 11 (Reserve) | Nickel Ni | -999 | Dust | K | 16
21P-Ni-12-0 | 21P | 0 | 12 | Ni | 0 | 0:00 | 0:00 | -999 | 12 (Reserve) | Nickel Ni | -999 | Dust | K | 17
21P-Ni-13-0 | 21P | 0 | 13 | Ni | 0 | 0:00 | 0:00 | -999 | 13 (Reserve) | Nickel Ni | -999 | Dust | K | 18
21P-Pb-1-0 | 21P | 0 | 1 | Pb |  | 0:00 | 0:00 | -999 | 1 | Lead Pb | -999 | Dust | L | 6
21P-Pb-2-0 | 21P | 0 | 2 | Pb |  | 0:00 | 0:00 | -999 | 2 | Lead Pb | -999 | Dust | L | 7
21P-Pb-3-0 | 21P | 0 | 3 | Pb |  | 0:00 | 0:00 | -999 | 3 | Lead Pb | -999 | Dust | L | 8
21P-Pb-4-0 | 21P | 0 | 4 | Pb |  | 0:00 | 0:00 | -999 | 4 (Reserve) | Lead Pb | -999 | Dust | L | 9
21P-Pb-5-0 | 21P | 0 | 5 | Pb |  | 0:00 | 0:00 | -999 | 5 (Reserve) | Lead Pb | -999 | Dust | L | 10
21P-Pb-6-0 | 21P | 0 | 6 | Pb | 0 | 0:00 | 0:00 | -999 | 6 | Lead Pb | -999 | Dust | L | 11
21P-Pb-7-0 | 21P | 0 | 7 | Pb | 0 | 0:00 | 0:00 | -999 | 7 | Lead Pb | -999 | Dust | L | 12
21P-Pb-8-0 | 21P | 0 | 8 | Pb | 0 | 0:00 | 0:00 | -999 | 8 | Lead Pb | -999 | Dust | L | 13
21P-Pb-9-0 | 21P | 0 | 9 | Pb | 0 | 0:00 | 0:00 | -999 | 9 | Lead Pb | -999 | Dust | L | 14
21P-Pb-10-0 | 21P | 0 | 10 | Pb | 0 | 0:00 | 0:00 | -999 | 10 | Lead Pb | -999 | Dust | L | 15
21P-Pb-11-0 | 21P | 0 | 11 | Pb | 0 | 0:00 | 0:00 | -999 | 11 (Reserve) | Lead Pb | -999 | Dust | L | 16
21P-Pb-12-0 | 21P | 0 | 12 | Pb | 0 | 0:00 | 0:00 | -999 | 12 (Reserve) | Lead Pb | -999 | Dust | L | 17
21P-Pb-13-0 | 21P | 0 | 13 | Pb | 0 | 0:00 | 0:00 | -999 | 13 (Reserve) | Lead Pb | -999 | Dust | L | 18
21P-V-1-0 | 21P | 0 | 1 | V |  | 0:00 | 0:00 | -999 | 1 | Vanadium V | -999 | Dust | M | 6
21P-V-2-0 | 21P | 0 | 2 | V |  | 0:00 | 0:00 | -999 | 2 | Vanadium V | -999 | Dust | M | 7
21P-V-3-0 | 21P | 0 | 3 | V |  | 0:00 | 0:00 | -999 | 3 | Vanadium V | -999 | Dust | M | 8
21P-V-4-0 | 21P | 0 | 4 | V |  | 0:00 | 0:00 | -999 | 4 (Reserve) | Vanadium V | -999 | Dust | M | 9
21P-V-5-0 | 21P | 0 | 5 | V |  | 0:00 | 0:00 | -999 | 5 (Reserve) | Vanadium V | -999 | Dust | M | 10
21P-V-6-0 | 21P | 0 | 6 | V | 0 | 0:00 | 0:00 | -999 | 6 | Vanadium V | -999 | Dust | M | 11
21P-V-7-0 | 21P | 0 | 7 | V | 0 | 0:00 | 0:00 | -999 | 7 | Vanadium V | -999 | Dust | M | 12
21P-V-8-0 | 21P | 0 | 8 | V | 0 | 0:00 | 0:00 | -999 | 8 | Vanadium V | -999 | Dust | M | 13
21P-V-9-0 | 21P | 0 | 9 | V | 0 | 0:00 | 0:00 | -999 | 9 | Vanadium V | -999 | Dust | M | 14
21P-V-10-0 | 21P | 0 | 10 | V | 0 | 0:00 | 0:00 | -999 | 10 | Vanadium V | -999 | Dust | M | 15
21P-V-11-0 | 21P | 0 | 11 | V | 0 | 0:00 | 0:00 | -999 | 11 (Reserve) | Vanadium V | -999 | Dust | M | 16
21P-V-12-0 | 21P | 0 | 12 | V | 0 | 0:00 | 0:00 | -999 | 12 (Reserve) | Vanadium V | -999 | Dust | M | 17
21P-V-13-0 | 21P | 0 | 13 | V | 0 | 0:00 | 0:00 | -999 | 13 (Reserve) | Vanadium V | -999 | Dust | M | 18
21P-CVF-1-0 | 21P | 0 | 1 | CVF | 0 | 0:00 | 0:00 | -999 | 1 | volume flow | -999 | Flow_conditions | E | 6
21P-CVF-2-0 | 21P | 0 | 2 | CVF |  | 0:00 | 0:00 | -999 | 2 (Reserve) | volume flow | -999 | Flow_conditions | E | 7
21P-CFV-1-0 | 21P | 0 | 1 | CFV | 0 | 0:00 | 0:00 | -999 | 1 | mean flow velocity | -999 | Flow_conditions | F | 6
21P-CFV-2-0 | 21P | 0 | 2 | CFV |  | 0:00 | 0:00 | -999 | 2 (Reserve) | mean flow velocity | -999 | Flow_conditions | F | 7
21P-CGT-1-0 | 21P | 0 | 1 | CGT | 0 | 0:00 | 0:00 | -999 | 1 | flue gas temperature | -999 | Flow_conditions | G | 6
21P-CGT-2-0 | 21P | 0 | 2 | CGT |  | 0:00 | 0:00 | -999 | 2 (Reserve) | flue gas temperature | -999 | Flow_conditions | G | 7
21P-CAH-1-0 | 21P | 0 | 1 | CAH | 0 | 0:00 | 0:00 | -999 | 1 | water concentration | -999 | Flow_conditions | H | 6
21P-CAH-2-0 | 21P | 0 | 2 | CAH |  | 0:00 | 0:00 | -999 | 2 (Reserve) | water concentration | -999 | Flow_conditions | H | 7
21P-CSP-1-0 | 21P | 0 | 1 | CSP | 0 | 0:00 | 0:00 | -999 | 1 | static pressure | -999 | Flow_conditions | I | 6
21P-CSP-2-0 | 21P | 0 | 2 | CSP |  | 0:00 | 0:00 | -999 | 2 (Reserve) | static pressure | -999 | Flow_conditions | I | 7
-Nk-1-0 |  | 0 | 1 | Nk |  | 0:00 | 0:00 | -999 | 1 | NOₓ as NO₂ | -999 | Gas | E | 6
-Nk-2-0 |  | 0 | 2 | Nk |  | 0:00 | 0:00 | -999 | 2 | NOₓ as NO₂ | -999 | Gas | E | 7
-Nk-3-0 |  | 0 | 3 | Nk |  | 0:00 | 0:00 | -999 | 3 | NOₓ as NO₂ | -999 | Gas | E | 8
-Nk-4-0 |  | 0 | 4 | Nk |  | 0:00 | 0:00 | -999 | 4 (Reserve) | NOₓ as NO₂ | -999 | Gas | E | 9
-Nk-5-0 |  | 0 | 5 | Nk |  | 0:00 | 0:00 | -999 | 5 (Reserve) | NOₓ as NO₂ | -999 | Gas | E | 10
-Nk-6-0 |  | 0 | 6 | Nk | 0 | 0:00 | 0:00 | -999 | 6 | NOₓ as NO₂ | -999 | Gas | E | 11
-Nk-7-0 |  | 0 | 7 | Nk | 0 | 0:00 | 0:00 | -999 | 7 | NOₓ as NO₂ | -999 | Gas | E | 12
-Nk-8-0 |  | 0 | 8 | Nk | 0 | 0:00 | 0:00 | -999 | 8 | NOₓ as NO₂ | -999 | Gas | E | 13
-Nk-9-0 |  | 0 | 9 | Nk | 0 | 0:00 | 0:00 | -999 | 9 | NOₓ as NO₂ | -999 | Gas | E | 14
-Nk-10-0 |  | 0 | 10 | Nk | 0 | 0:00 | 0:00 | -999 | 10 | NOₓ as NO₂ | -999 | Gas | E | 15
-Nk-11-0 |  | 0 | 11 | Nk | 0 | 0:00 | 0:00 | -999 | 11 (Reserve) | NOₓ as NO₂ | -999 | Gas | E | 16
-Nk-12-0 |  | 0 | 12 | Nk | 0 | 0:00 | 0:00 | -999 | 12 (Reserve) | NOₓ as NO₂ | -999 | Gas | E | 17
-Nk-13-0 |  | 0 | 13 | Nk | 0 | 0:00 | 0:00 | -999 | 13 (Reserve) | NOₓ as NO₂ | -999 | Gas | E | 18
-Kk-1-0 |  | 0 | 1 | Kk |  | 0:00 | 0:00 | -999 | 1 | CO | -999 | Gas | F | 6
-Kk-2-0 |  | 0 | 2 | Kk |  | 0:00 | 0:00 | -999 | 2 | CO | -999 | Gas | F | 7
-Kk-3-0 |  | 0 | 3 | Kk |  | 0:00 | 0:00 | -999 | 3 | CO | -999 | Gas | F | 8
-Kk-4-0 |  | 0 | 4 | Kk |  | 0:00 | 0:00 | -999 | 4 (Reserve) | CO | -999 | Gas | F | 9
-Kk-5-0 |  | 0 | 5 | Kk |  | 0:00 | 0:00 | -999 | 5 (Reserve) | CO | -999 | Gas | F | 10
-Kk-6-0 |  | 0 | 6 | Kk | 0 | 0:00 | 0:00 | -999 | 6 | CO | -999 | Gas | F | 11
-Kk-7-0 |  | 0 | 7 | Kk | 0 | 0:00 | 0:00 | -999 | 7 | CO | -999 | Gas | F | 12
-Kk-8-0 |  | 0 | 8 | Kk | 0 | 0:00 | 0:00 | -999 | 8 | CO | -999 | Gas | F | 13
-Kk-9-0 |  | 0 | 9 | Kk | 0 | 0:00 | 0:00 | -999 | 9 | CO | -999 | Gas | F | 14
-Kk-10-0 |  | 0 | 10 | Kk | 0 | 0:00 | 0:00 | -999 | 10 | CO | -999 | Gas | F | 15
-Kk-11-0 |  | 0 | 11 | Kk | 0 | 0:00 | 0:00 | -999 | 11 (Reserve) | CO | -999 | Gas | F | 16
-Kk-12-0 |  | 0 | 12 | Kk | 0 | 0:00 | 0:00 | -999 | 12 (Reserve) | CO | -999 | Gas | F | 17
-Kk-13-0 |  | 0 | 13 | Kk | 0 | 0:00 | 0:00 | -999 | 13 (Reserve) | CO | -999 | Gas | F | 18
-Ck-1-0 |  | 0 | 1 | Ck |  | 0:00 | 0:00 | -999 | 1 | TOC | -999 | Gas | G | 6
-Ck-2-0 |  | 0 | 2 | Ck |  | 0:00 | 0:00 | -999 | 2 | TOC | -999 | Gas | G | 7
-Ck-3-0 |  | 0 | 3 | Ck |  | 0:00 | 0:00 | -999 | 3 | TOC | -999 | Gas | G | 8
-Ck-4-0 |  | 0 | 4 | Ck |  | 0:00 | 0:00 | -999 | 4 (Reserve) | TOC | -999 | Gas | G | 9
-Ck-5-0 |  | 0 | 5 | Ck |  | 0:00 | 0:00 | -999 | 5 (Reserve) | TOC | -999 | Gas | G | 10
-Ck-6-0 |  | 0 | 6 | Ck | 0 | 0:00 | 0:00 | -999 | 6 | TOC | -999 | Gas | G | 11
-Ck-7-0 |  | 0 | 7 | Ck | 0 | 0:00 | 0:00 | -999 | 7 | TOC | -999 | Gas | G | 12
-Ck-8-0 |  | 0 | 8 | Ck | 0 | 0:00 | 0:00 | -999 | 8 | TOC | -999 | Gas | G | 13
-Ck-9-0 |  | 0 | 9 | Ck | 0 | 0:00 | 0:00 | -999 | 9 | TOC | -999 | Gas | G | 14
-Ck-10-0 |  | 0 | 10 | Ck | 0 | 0:00 | 0:00 | -999 | 10 | TOC | -999 | Gas | G | 15
-Ck-11-0 |  | 0 | 11 | Ck | 0 | 0:00 | 0:00 | -999 | 11 (Reserve) | TOC | -999 | Gas | G | 16
-Ck-12-0 |  | 0 | 12 | Ck | 0 | 0:00 | 0:00 | -999 | 12 (Reserve) | TOC | -999 | Gas | G | 17
-Ck-13-0 |  | 0 | 13 | Ck | 0 | 0:00 | 0:00 | -999 | 13 (Reserve) | TOC | -999 | Gas | G | 18
-Sd-1-0 |  | 0 | 1 | Sd |  | 0:00 | 0:00 | -999 | 1 | SO₂ | -999 | Gas | H | 6
-Sd-2-0 |  | 0 | 2 | Sd |  | 0:00 | 0:00 | -999 | 2 | SO₂ | -999 | Gas | H | 7
-Sd-3-0 |  | 0 | 3 | Sd |  | 0:00 | 0:00 | -999 | 3 | SO₂ | -999 | Gas | H | 8
-Sd-4-0 |  | 0 | 4 | Sd |  | 0:00 | 0:00 | -999 | 4 (Reserve) | SO₂ | -999 | Gas | H | 9
-Sd-5-0 |  | 0 | 5 | Sd |  | 0:00 | 0:00 | -999 | 5 (Reserve) | SO₂ | -999 | Gas | H | 10
-Sd-6-0 |  | 0 | 6 | Sd | 0 | 0:00 | 0:00 | -999 | 6 | SO₂ | -999 | Gas | H | 11
-Sd-7-0 |  | 0 | 7 | Sd | 0 | 0:00 | 0:00 | -999 | 7 | SO₂ | -999 | Gas | H | 12
-Sd-8-0 |  | 0 | 8 | Sd | 0 | 0:00 | 0:00 | -999 | 8 | SO₂ | -999 | Gas | H | 13
-Sd-9-0 |  | 0 | 9 | Sd | 0 | 0:00 | 0:00 | -999 | 9 | SO₂ | -999 | Gas | H | 14
-Sd-10-0 |  | 0 | 10 | Sd | 0 | 0:00 | 0:00 | -999 | 10 | SO₂ | -999 | Gas | H | 15
-Sd-11-0 |  | 0 | 11 | Sd | 0 | 0:00 | 0:00 | -999 | 11 (Reserve) | SO₂ | -999 | Gas | H | 16
-Sd-12-0 |  | 0 | 12 | Sd | 0 | 0:00 | 0:00 | -999 | 12 (Reserve) | SO₂ | -999 | Gas | H | 17
-Sd-13-0 |  | 0 | 13 | Sd | 0 | 0:00 | 0:00 | -999 | 13 (Reserve) | SO₂ | -999 | Gas | H | 18
-Ed-1-0 |  | 0 | 1 | Ed |  | 0:00 | 0:00 | -999 | 1 | ethyl benzene | -999 | Gas | I | 6
-Ed-2-0 |  | 0 | 2 | Ed |  | 0:00 | 0:00 | -999 | 2 | ethyl benzene | -999 | Gas | I | 7
-Ed-3-0 |  | 0 | 3 | Ed |  | 0:00 | 0:00 | -999 | 3 | ethyl benzene | -999 | Gas | I | 8
-Ed-4-0 |  | 0 | 4 | Ed |  | 0:00 | 0:00 | -999 | 4 (Reserve) | ethyl benzene | -999 | Gas | I | 9
-Ed-5-0 |  | 0 | 5 | Ed |  | 0:00 | 0:00 | -999 | 5 (Reserve) | ethyl benzene | -999 | Gas | I | 10
-Ed-6-0 |  | 0 | 6 | Ed | 0 | 0:00 | 0:00 | -999 | 6 | ethyl benzene | -999 | Gas | I | 11
-Ed-7-0 |  | 0 | 7 | Ed | 0 | 0:00 | 0:00 | -999 | 7 | ethyl benzene | -999 | Gas | I | 12
-Ed-8-0 |  | 0 | 8 | Ed | 0 | 0:00 | 0:00 | -999 | 8 | ethyl benzene | -999 | Gas | I | 13
-Ed-9-0 |  | 0 | 9 | Ed | 0 | 0:00 | 0:00 | -999 | 9 | ethyl benzene | -999 | Gas | I | 14
-Ed-10-0 |  | 0 | 10 | Ed | 0 | 0:00 | 0:00 | -999 | 10 | ethyl benzene | -999 | Gas | I | 15
-Ed-11-0 |  | 0 | 11 | Ed | 0 | 0:00 | 0:00 | -999 | 11 (Reserve) | ethyl benzene | -999 | Gas | I | 16
-Ed-12-0 |  | 0 | 12 | Ed | 0 | 0:00 | 0:00 | -999 | 12 (Reserve) | ethyl benzene | -999 | Gas | I | 17
-Ed-13-0 |  | 0 | 13 | Ed | 0 | 0:00 | 0:00 | -999 | 13 (Reserve) | ethyl benzene | -999 | Gas | I | 18
-Td-1-0 |  | 0 | 1 | Td |  | 0:00 | 0:00 | -999 | 1 | toluene | -999 | Gas | J | 6
-Td-2-0 |  | 0 | 2 | Td |  | 0:00 | 0:00 | -999 | 2 | toluene | -999 | Gas | J | 7
-Td-3-0 |  | 0 | 3 | Td |  | 0:00 | 0:00 | -999 | 3 | toluene | -999 | Gas | J | 8
-Td-4-0 |  | 0 | 4 | Td |  | 0:00 | 0:00 | -999 | 4 (Reserve) | toluene | -999 | Gas | J | 9
-Td-5-0 |  | 0 | 5 | Td |  | 0:00 | 0:00 | -999 | 5 (Reserve) | toluene | -999 | Gas | J | 10
-Td-6-0 |  | 0 | 6 | Td | 0 | 0:00 | 0:00 | -999 | 6 | toluene | -999 | Gas | J | 11
-Td-7-0 |  | 0 | 7 | Td | 0 | 0:00 | 0:00 | -999 | 7 | toluene | -999 | Gas | J | 12
-Td-8-0 |  | 0 | 8 | Td | 0 | 0:00 | 0:00 | -999 | 8 | toluene | -999 | Gas | J | 13
-Td-9-0 |  | 0 | 9 | Td | 0 | 0:00 | 0:00 | -999 | 9 | toluene | -999 | Gas | J | 14
-Td-10-0 |  | 0 | 10 | Td | 0 | 0:00 | 0:00 | -999 | 10 | toluene | -999 | Gas | J | 15
-Td-11-0 |  | 0 | 11 | Td | 0 | 0:00 | 0:00 | -999 | 11 (Reserve) | toluene | -999 | Gas | J | 16
-Td-12-0 |  | 0 | 12 | Td | 0 | 0:00 | 0:00 | -999 | 12 (Reserve) | toluene | -999 | Gas | J | 17
-Td-13-0 |  | 0 | 13 | Td | 0 | 0:00 | 0:00 | -999 | 13 (Reserve) | toluene | -999 | Gas | J | 18
-Xd-1-0 |  | 0 | 1 | Xd |  | 0:00 | 0:00 | -999 | 1 | xylene | -999 | Gas | K | 6
-Xd-2-0 |  | 0 | 2 | Xd |  | 0:00 | 0:00 | -999 | 2 | xylene | -999 | Gas | K | 7
-Xd-3-0 |  | 0 | 3 | Xd |  | 0:00 | 0:00 | -999 | 3 | xylene | -999 | Gas | K | 8
-Xd-4-0 |  | 0 | 4 | Xd |  | 0:00 | 0:00 | -999 | 4 (Reserve) | xylene | -999 | Gas | K | 9
-Xd-5-0 |  | 0 | 5 | Xd |  | 0:00 | 0:00 | -999 | 5 (Reserve) | xylene | -999 | Gas | K | 10
-Xd-6-0 |  | 0 | 6 | Xd | 0 | 0:00 | 0:00 | -999 | 6 | xylene | -999 | Gas | K | 11
-Xd-7-0 |  | 0 | 7 | Xd | 0 | 0:00 | 0:00 | -999 | 7 | xylene | -999 | Gas | K | 12
-Xd-8-0 |  | 0 | 8 | Xd | 0 | 0:00 | 0:00 | -999 | 8 | xylene | -999 | Gas | K | 13
-Xd-9-0 |  | 0 | 9 | Xd | 0 | 0:00 | 0:00 | -999 | 9 | xylene | -999 | Gas | K | 14
-Xd-10-0 |  | 0 | 10 | Xd | 0 | 0:00 | 0:00 | -999 | 10 | xylene | -999 | Gas | K | 15
-Xd-11-0 |  | 0 | 11 | Xd | 0 | 0:00 | 0:00 | -999 | 11 (Reserve) | xylene | -999 | Gas | K | 16
-Xd-12-0 |  | 0 | 12 | Xd | 0 | 0:00 | 0:00 | -999 | 12 (Reserve) | xylene | -999 | Gas | K | 17
-Xd-13-0 |  | 0 | 13 | Xd | 0 | 0:00 | 0:00 | -999 | 13 (Reserve) | xylene | -999 | Gas | K | 18

## info (hidden)
rv | stelle | str | plz | ort | tel | fax | email | idcode | datum | name | position
21P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| B7 | B9 | B10 | B11 | B12 | B13 | B14 | B18 | B22 | B23 | B24
Dust!F21 | B7: Kommentar Messwerte Staub:; B9: 0
Gas!F21 | B7: Kommentar Messwerte Gas:; B9: 0
Flow_conditions!L10 | B7: Kommentar Randbedingunen:; B9: 0
Analytik | B7: Beschreibung; B9: kurz; B10: Wert; B11: Wort; B12: Kommentar
Messunsicherheit | B7: St; B9: MUSt; B10: 0
| Cd | MUCd | 0
| Co | MUCo | 0
| Cr | MUCr | 0
| Cu | MUCu | 0
| Mn | MUMn | 0
| Ni | MUNi | 0
| Pb | MUPb | 0
| V | MUV | 0
| CVF | MUCVF | 0
Probenahme | B7: system; B9: Sys; B10: Sys0; B11: please select; B12: 0
| probe material | Mts | Mts0 | please select | 0
| diameter probe inlet | Dms | 0 | mm | 0
| filter material | Mtf | Mtf0 | please select | 0
| diameter filter | Dmf | 0 | mm | 0
Spülen | B7: the probe head was rinsed during the proficiency test:; B9: Spu; B10: Spu0; B11: please select; B12: 0
| rinsing residues were taken into account in the measurement result: | Sra | Sra0 | please select | 0
Schwermetallanalytik | B7: digestion conforming to; B9: Nrm; B10: Nrm0; B11: please select; B12: 0
| analysis device | Ang | Ang0 | please select | 0
Messunsicherheit | B7: Nk; B9: MUNk; B10: 0
| Kk | MUKk | 0
| Ck | MUCk | 0
| Sd | MUSd | 0
| Ed | MUEd | 0
| Td | MUTd | 0
| Xd | MUXd | 0
Verfahren | B7: SO2; B9: AnS; B10: AnS0; B11: please select; B12: 0
| ETX (ethyl benzene, toluene & Xylol) | AnO | AnO0 | please select | 0
ETX-Analyse | B7: desorption solvent; B9: DeO; B10: DeO0; B11: please select; B12: 0
| analysis device | AgO | AgO0 | please select | 0